## Radiography
Site
Room
System Manufacturer
Year of Installation
Current Year | 2019
BASELINE EXPOSURE CONDITIONS |  |  | VIEWING CONDITIONS
Date of baseline acquisition |  |  | Display type
Radiographic protocol/anatomical program |  |  | Window width or contrast setting
Filtration |  |  | Level or brightness setting
AEC Configuration
Anti-scatter grid - In/Out
Source to image distance
Source to phantom surface distance
| BASELINE | January | February | March | April | May | June | July | August | September | October | November | December
kV
mAs
Exposure Index
Dose
Visible artifacts? (Y/N)
Number of complete rows visible (A - E)
Number of discs visible in first column (largest discs)
STATUS |  | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS | PASS
| BASELINE | January | February | March | April | May | June | July | August | September | October | November | December
Exposure Index Upper Limit (+ 15%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exposure Index Lower Limit (- 15%) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Display Type
Acquisition console
Radiologist workstation
Other